DEPARTMENT OF THE ARMY

U. S. ARMY TMDE SUPPORT CENTER

FORT HOOD, TX  76544-5061

SOP-TSC-FH-10                                                                                        29 Mar 2006

This supersedes SOP dated 15 Sep 2004

TEST, MEASUREMENT AND DIAGNOSTIC EQUIPMENT SUPPORT CENTER

EXTERNAL STANDARD OPERATING PROCEDURES (SOP)

1.  PURPOSE:  The purpose of this SOP is to provide authorized customers of the Area Test, Measurement and Diagnostic Equipment Support Center (TSC) with detailed information pertinent to the turn-in and pick-up of Test, Measurement and Diagnostic Equipment (TMDE) for calibration, repair, serviceability, classification and application of Department of the Army (DA) Modification Work Orders (MWOs).

2.  SCOPE:  This SOP applies to all authorized customers of the Fort Hood TSC.

3.  POLICY:

a.  It is the policy of the TSC to provide total TMDE maintenance support to all authorized customers within capabilities and responsibilities of this TSC as defined by AR 750-43 and described in TB 43-180.

b.  TMDE support beyond the capabilities of the TSC will be shipped to appropriate locations.

c.  TSC is located in Building 88039.  Hours of operation are:  0730-0930, 0945-1130, 1200-1400, and 1415-1500 hours, Monday through Friday.

4.  REFERENCES:

a.  AR 710-2, Inventory Management:  Supply Policy Below the Wholesale Level.

b.  AR 725-50, Requisitioning, Receipt and Issue System.

c.  AR 735-11, Accounting for Lost, Damaged or Destroyed Property.

d.  AR 750-1, Army Material Maintenance Concepts and Policies.

e.  AR 750-43, Army Test, Measurement, and Diagnostic Equipment Program.

f.  DA Pam 710-2-1, Using Unit Supply System (Manual Procedures).

g.  DA Pam 710-2-2, Supply Support Activity Supply System (Manual Procedures).

h.  TB 43-180, Calibration Requirements for the Maintenance of Army Material.

i.  TB 43-0001-61-2, Equipment Improvement Reports and Maintenance Digest, Test, Measurement, and Diagnostic Equipment (TMDE).

j.   TB 750-25, Maintenance of Supplies and Equipment TMDE Calibration and Repair Support Program.

k.  DA Pam 738-750, The Army Maintenance Program.

l.  USATA REG 750-2, Condition Coding of Unserviceable or Excess TMDE.

- III CORPS and Fort Hood Reg 750-15, The Installation Test, Measurement and Diagnostic Equipment Calibration and Repair Support Program.

n.  USATA-R3 SOP 750-1, Customer Complaints

5.  PROCEDURES AND REQUIREMENTS:

a.  Submission of Delegation of Authority Cards (DA Form 1687).

(1)  All customer units are required to submit “Notice of Delegation of Authority-Receipt of Supplies” (Signature Cards) DA Form 1687 prior to conducting business with the TSC.  DA Form 1687 will be used to verify authority of persons to deliver and receive equipment at the TSC.  A copy of the Assumption of Command/Appointment Orders must be submitted with the DA Form 1687.

(2)  The supported unit is responsible for ensuring that a valid DA Form 1687 for their unit is on hand at the TSC providing support.  DA Form 1687 will be completed per requirements of AR 710-2 and DA Pam 710-2-1.

(3)  This TSC requires supported units to submit typewritten DA Forms 1687 Signature Cards (see Annex K) with accurate information.

b.  TMDE Calibration Recall Program.

(1)  In order to maintain an effective TMDE Calibration Recall Program, the owner of the TMDE and the Installation TMDE Support Coordinator will be provided computer printouts quarterly.  The printouts (TMDE Integrated Materiel Management System [TIMMS] Master Listings) will provide the TMDE Support Coordinator with a complete list of all TMDE which is on the Instrument Master Record File (IMRF) for the unit.  The master listing is a management tool used to determine owner/user compliance with the TMDE support program (see Annex J).  The TMDE owner/user must advise the supporting TSC of any changes, additions, or deletions in the TMDE inventory.  Projected and delinquent items listings will be provided monthly.  They are identified as such in the right hand column of the listing.  “PROJECTED” identifies items that will be due calibration within the next month.  On the master listing, the “DUE CAL DATE” column shows the date a particular item should be at TSC for calibration.  This date should correspond with the “DUE DATE” on the DA Label 80 affixed to the TMDE.  “DELINQUENT” identifies items that were not submitted within the scheduled time frame.  If the owning unit has ten (10) or more of items to be turned in at one time, the unit TMDE Support Coordinator should call the Production Control (PC) Calibration Assistant (287-1206) for an appointment.

(2)  Status reports on in-shop TMDE may be obtained by contacting the TSC.

c.  Submission of TMDE for Calibration.

(1)  Equipment requiring calibration is not normally assigned an Item Priority Designator (IPD).  Priority of calibration is based on oldest job first and production efficiency.  However, some items may fail during the calibration process, which creates a need for transfer to a “REPAIR STATUS.”  To cover this situation, contingency IPDs will be assigned to the equipment when it is submitted for calibration.  This will allow the TSC to continue the job.  Organizations provided TMDE support by the TSC are encouraged to ensure the IPD is consistent with the unit’s requirement for that piece of TMDE.  See para 5d for more details.  Suspected abuse of IPDs is subject to be challenged by the TSC.

(a)  TMDE with high priority and appropriately documented is the only TMDE that will be received after 1500 hours, which is the TSC’s close-out time for receiving TMDE.  Please do not abuse your priority!

(b)  Equipment requiring support by other TSCs will be evacuated to those specific TSCs by this TSC.  Turn-around time for evacuated equipment can be obtained upon request and provided to the owning unit.

(c)  For small arms and ammunition gages, owners/users may contact the TSC for instructions on where to send their gages for inspection and calibration.

(2)  TMDE submitted for calibration must be complete, to include accessories, and must be in operable condition.  Non-operable TMDE will be accepted for repair with the deficiency reported on the DA Form 7372.

(3)  A batch computer receipt of equipment received will be printed and signed by PCCA and given to customer as a receipt copy.

(4)  Customers, who have TMDE awaiting pickup, will be required to pick up prior to submitting additional TMDE for calibration.

(5)  If an item is found to be grossly out-of-tolerance during calibration, a Gross Out-of-Tolerance letter (see Annex H) will be submitted to the Commander/Chief of the owning unit.

(6)  Items, which are not listed in TB 43-180 or covered by Calibration and Repair Requirements work sheets (DA Form 3758), will not be accepted for calibration.  If calibration support is desired, the owning unit will submit a DA Form 3758 completed IAW TB 750-25, Appendix B.  (TSC personnel will assist with the process.)

(7)  Customers submitting TMDE containing a radioactive source, must notify the PCCA of the presence of the source prior to acceptance of this item.  TMDE containing active sources must be wipe tested prior to submission.  This wipe test will be performed by the Local Radiation Safety Officer (LRSO) or his alternate prior to submission of TMDE.

d.  Change in Status of TMDE Accepted for Calibration.

(1)  If, during the calibration process, an item is found to require repair support, the TSC will change the status to “K” (awaiting shop repair) on DA Form 7372.

(2)  If parts and labor costs exceed 65% of the original cost of the item, the customer will be notified by phone to pick up the item or to provide written authority to repair the item (see Annex B).

(a)  Parts will be ordered through Region 3 supply channels.  Upon request, the customer will be notified in writing of the estimated delivery date.

(b)  Requisitions for parts will go into Region 3 supply channels with the same priority as the contingency IPD.  All priorities 01-08 or changes to priorities must be in writing, signed by the Commander/Chief or his authorized representative, as indicated on Signature Card on file with the TSC.

(3)  The TSC has a calibration turn-around time goal of 10 days or less.  Therefore, if the supported customer has not been notified of any change in status for equipment that is 13 days or older, the customer should contact the TSC for an update as to the status of those jobs.

e.  Submission of TMDE for Repair Support.

- The PC Cal Asst will print the DA Form 7372 and check it for accuracy, completeness, authentication and accompanying documents (high priority request).

(2)  An IPD will be requested by the owning unit, using the criteria established in Appendix G, AR 710-2.  Should the IPD require a change at a later time, the DA Form 7372 will be corrected and initialed by PCCA and the individual who is authorized by the Commander/Chief via memorandum to verify IPDs.

(3)  IPDs 01-08 must be signed by the unit Commander/Chief or his designated representative.

(4)  Memorandum for assignment of IPDs may be submitted by a designated representative whose signature appears on the DA Form 1687.

(5)  Block 25 of the DA Form 7372 will describe the deficiency or symptoms of the item requiring repair.  “Repair as needed” is not acceptable.

(6)  If repair parts and labor costs exceed 65% of the original cost of the item, the customer will be notified by phone to pick up the item or to provide written authority to repair the item (see Annex B).

(7)  Before a customer unit’s maintenance request is processed through PCCA, the equipment will receive a technical acceptance inspection.  During this inspection, documentation will be checked against the equipment for completeness and accuracy.

(8)  If the TSC does not have required technical manuals (TM) on hand for items of equipment being submitted for calibration/repair, the owning unit will be requested to provide manuals.

f.  Acceptance Inspection of TMDE Submitted for Calibration/Repair.

(1)  Each user must perform the portion of the preventive maintenance for which they are responsible IAW the TM or manufacturer’s manual for the item in question.

(a)  Acceptance of TMDE may be delayed until operator and organizational maintenance faults are corrected or justification of liability to correct the same is presented.  Units will be provided the opportunity to make on-the-spot corrections.

(b)  TMDE for which organizational level repair/replacement parts are on order will not be rejected, provided TMDE is still operational.  However, a Missing Parts Statement must be submitted with the equipment (see Annex C).

(2)  After the acceptance inspection, the following actions will be taken:

(a) DA Form 7372 will be completed and processed through PCCA for equipment submitted for calibration/repair.  The customer will be given a batch receipt for equipment received and signed for by the PC Cal Asst.

(b)  If TMDE is rejected for non-performance of operator/organizational maintenance, the DA Form 7372 will be closed out and annotated with the statement “Rejected for Organizational Maintenance” and verified by the signature of the TSC supervisor or team leader (see Annex D).

g.  Damaged/Cannibalized TMDE.

(1)  If during the acceptance inspection, damage to the TMDE is determined to have been caused by other than fair wear and tear (FWT), the TMDE will not be accepted until the owning unit complies with AR 710-2 and AR 735-11.

(2)  If during the repair process, TMDE accepted for repair is found to have internal damage due to other than FWT, the TMDE will be returned to the owning unit with an Estimated Cost of Damage (ECOD) pending action IAW AR 735-11.

(3)  When TMDE is rejected or returned to the owning unit because of damage, the job order will be closed out and remarks annotated with reason for rejection.

h.  Estimated Cost of Damage (ECOD).

(1)  Request for ECOD will be IAW AR 735-11.

(2)  A statement requesting ECOD will be entered in Block 25, DA Form 2407.

(3)  Upon completion of the ECOD by the TSC, the DA Form 2407 and associated paperwork will be returned to the owning unit.

(4)  Any repair for TMDE per ECOD will require the following statement:  “This is no longer required for an investigation and is hereby released to effect necessary repair.”  This statement will be accompanied by a clear and definitive statement as to whether an Actual Cost of Damage (ACOD) is required, i.e. “ACOD Required.”  This statement must be signed by the Unit Commander/Chief or Surveying Officer.   If signed by the Surveying Officer, a copy of appointment orders must accompany the statement and the DA Form 2407.

(5)  The TSC can perform an ACOD on TMDE which is within the TSC repair capabilities.  All others will be forwarded by the customer to the responsible support activity, i.e. the Area Calibration and Repair Center located in the appropriate geographic area or the factory.

i.  Classification of TMDE.

(1)  Verification for classification will be the responsibility of  the TSC supervisor.

(2)  TMDE submitted for classification as “Excess to TOE/TDA” must be accompanied by a memorandum or letter verified by the Unit Commander/Chief or PBO.

(a)  Unit will provide the correct NSN from the PBO to the TSC.

(b)  All excess TMDE and accessories will have operator and organizational maintenance performed by the owning unit.

(c)  Excess TMDE to be turned in may be unserviceable, but it must be complete.  Serviceable and unserviceable parts, accessories, or components will be attached to the end item.  TMDE jobs ordered for classification must be submitted with an up-to-date TM.  A complete inventory indicating components short and quantity on hand, signed by the PBO, must accompany the equipment.  Shortages must be listed on DA Form 2404.

(d)  In block 25 of the DA Form 7372, TMDE coordinator will request items be turned in as excess or for lateral transfer.

(e)  An IPD of 11-15 will be assigned to request for calibration of TMDE excess to TOE/TDA.  If a higher priority is required, the request by memorandum will accompany the equipment and be signed by the PBO or Commander.

(f)  If items are classified as non-repairable at this level, TSC code out forms will be prepared by the TSC.  Paragraphs 5i2(b) and 5i2(c) above apply.

(g)  Equipment classified for turn-in must be turned in to Turn-in and Classification Point within 90 days after being classified.  If equipment is not turned in during this 90-day time frame, the TSC will not reclassify without a letter of request from the unit commander.

j.  Modification Work Orders (MWOs).

(1)  The TSC accepts all requests for application of Dept of the Army DS/GS level MWOs on a DA Form 2407 prepared IAW DA Pam 738-750.  Customer units are required to submit the appropriate MWO publication along with the DA Form 2407 and DA Form 7372.  The MWO publication number should be annotated in Block 24 of the DA Form 2407.

(2)  Work order numbers will be assigned at the time of submission of the DA Form 2407.

(3)  If the MWO is related to a hazardous condition, i.e. “URGENT” or “IMMEDIATE,” the item will be submitted with the DA Form 2407 and held by the TSC until the MWO has been applied.

(4)  If the MWO is classified ‘NORMAL” or “ROUTINE,” the item may remain in use at the unit until recalled by the TSC for installation of the MWO.

k.  Pickup of Completed Work Orders.

(1)  Upon completion of calibration or repair, the customer will be notified by phone that the equipment is available for pickup.  The equipment should be picked up within 24 hours for priority 01-08 and within 3 working days for priority 09-15.  If equipment is not picked up, a second notification will be made.  If the unit fails to respond, a memorandum (see Annex F) will be sent to the Unit Commander through the Installation TMDE Support Coordinator.

(2)  If circumstances exist that require an extension of pickup time, the customer may contact the TSC Chief and request an extension.  The Chief or assistant is the only authority to grant an extension of pickup time.

(3)  To preclude any unnecessary delay in picking up jobs, the customer must have the receipt copy issued at the time of equipment turn-in on each trip to the TSC.  Individuals picking up equipment must be on the current DA Form 1687 (Signature Card).

(4)  In the event the receipt copy is lost, the customer will be required to submit a Misplaced or Lost Receipt Form in duplicate, signed by the owning unit’s Commanding Officer or PBO (see Annex A).

(5)  Upon pick-up of completed TMDE from TSC, the receipt copy and working copies of the DA Form 7372 attached to the TMDE will be given to the PC Clerk.  The TSC Daily Job Log will be signed and dated opposite the appropriate Job Order Number by the individual receiving equipment.

(6)  When customer units receive an item from the TSC, they should perform a complete operation and performance check within 24 hours.  If a deficiency is noted, the customer should return equipment to the TSC along with a customer’s inspection worksheet (DA Form 2404) and resubmit the item.

l. Technical Manuals and Manufacturer’s Manual.

(1)  All TSCs are required to have on hand the TMs or manufacturer’s manuals to support each item of TMDE in their density.  Occasionally, a support customer may have pieces of TMDE for which the TSC does not have the required manual.  This can occur when equipment is newly fielded or one-of-a-kind.  Therefore, as units receive a new item of TMDE, they should check with the TSC for manual availability before submitting the item for calibration/repair.

(2)  If an item of TMDE is received by the TSC and the TSC does not have the necessary manual, the manual will be ordered by the TSC.  To minimize delay in performing necessary maintenance, the TSC will request the applicable manual from the unit owning the item of TMDE so as to ensure expeditious service to the customer.

- Customer Complaints

(1) To ensure that all customers are fully informed of complaint process, a copy of SOP

750-1 is posted in production control area.

6.  TRANSPORTATION OF SENSITIVE, FRAGILE EQUIPMENT:  To prevent damage to equipment during transit to and from the TSC, the following procedures are recommended to customer units.

a. When possible, the designated shipping containers should be utilized.  These containers should be secured to prevent shifting while in transit.

b. All items not containerized should be placed on shock-absorbent pads such as a salvaged mattress and secured to prevent shifting.

c. All equipment should be transported in a covered vehicle or, at a minimum, covered with tarpaulin.

7.  CUSTOMER ASSISTANCE LIAISON VISITS:

a. The TSC will make periodic liaison visits to the supported units upon request.  These visits will be coordinated through the Unit Commander/Chief and Installation TMDE Support Coordinator.

b. During the course of these visits, all problem areas will be discussed.  On-the-spot evaluation of problem areas will determine if there is a readily available solution to the problem.

c. The customer may request a visit either by phone or in writing.

8.  EXCEPTION TO POLICY:  Exception to any policy contained in this SOP must be granted in writing from the Chief, TMDE Support Center-Fort Hood, ATTN: AMSAM-TMD-C-HD, P.O. Box 5008, Fort Hood, TX  76544-0008

9.  POINTS OF CONTACT:

a. Fort Hood TSC, 287-1206/1205.

b. TMDE Support Coordinator, 288-0948.

_________________________			______________________________

BILLY H. HAFLEY

Chief, TSC-Ft Hood					Installation TMDE Support Coordinator

Annex A:	Misplaced or Lost Hand Receipt

Annex B:	Authorization for Repair

Annex C:	Missing Parts Statement

Annex D:	TMDE Rejected for Organizational Maintenance

Annex E:	Status of End Item

Annex F:	Failure to Pick-up at Support Facility

Annex G:	Out-of-Cycle Calibration

Annex H: 	Gross Out-of-Tolerance TMDE

Annex I:	Return of TMDE to Customers - No Action Taken

Annex J:	Correcting TIMMS Master Listings

Annex K:	DA Form 1687 - Signature Card

Annex L:	DA Form 7372

DEPARTMENT OF THE ARMY

(Customer Unit)

OFFICE SYMBOL  (MARKS NUMBER)                                                                            DATE

MEMORANDUM FOR Chief, US Army TMDE Support Center, Bldg 88039 (Calibration),

ATTN:  AMSAM-TMD-C-HD, Fort Hood, Texas  76544

SUBJECT:  Misplaced or Lost Receipt

I certify that the TMDE receipt copy for SN#: _________________,

NSN: __________________, MDL#: ________________, was lost or misplaced; and if

found, will be destroyed.  Job Order No.:_________________.

____________________________________

____________________________________

____________________________________

COMMANDER/CHIEF (Signature Block)

_____________

OWNER UIC

Annex A

DEPARTMENT OF THE ARMY

(Customer Unit)

OFFICE SYMBOL  (MARKS NUMBER)                                                                            DATE

MEMORANDUM FOR Chief, US Army TMDE Support Center, Bldg 88039 (Calibration),

ATTN:  AMSAM-TMD-C-HD, Fort Hood, Texas  76544

SUBJECT:  Authorization for Repair

Authorization is granted to exceed 65% of original cost for repair of the following

item(s):

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

____________________________________

____________________________________

____________________________________

COMMANDER/CHIEF (Signature Block)

_____________

OWNER UIC

Annex B

DEPARTMENT OF THE ARMY

(Customer Unit)

OFFICE SYMBOL  (MARKS NUMBER)                                                                            DATE

MEMORANDUM FOR Chief, US Army TMDE Support Center, Bldg 88039 (Calibration),

ATTN:  AMSAM-TMD-C-HD, Fort Hood, Texas  76544

SUBJECT:  Missing Parts Statement

1.  I certify that the listed part(s) are missing from MODEL#: _________________,

SERIAL#: __________________,  PART#:________________,

NSN:___________________, NOMENCLATURE:_______________________,

QTY:___________.

PARTS MISSING: ________________________________________________________________________________________________________________________________________________

2.  I further certify that the subject part(s) have been accounted for IAW AR 735-11 and AR 725-50.

____________________________________

____________________________________

ACCOUNTABLE OFFICER

(Signature Block)

_____________

OWNER UIC

Annex C

DEPARTMENT OF THE ARMY

US Army TMDE Support Center

Fort Hood, Texas  76544

AMSAM-TMD-C-HD                                                                                                          DATE

MEMORANDUM THRU Installation TMDE Support Coordinator, Fort Hood, Texas  76544

FOR Commander, (Unit/UIC)

SUBJECT:  TMDE Rejected for Organizational Maintenance

The following item(s) was/were returned to the owning unit, UIC:  ____________,

because of lack of operator/organizational maintenance for deficiencies noted on DA

Form 2404.

NOMENCLATURE             MODEL#            SERIAL#        DUE DATE

________________________________

CHIEF, TSC-FORT HOOD

UNIT’S OFFICE SYMBOL   1st End

UNIT’S ADDRESS                                   DATE

FOR Chief, TSC-Fort Hood

I acknowledge receipt of this memorandum.

____________________________

UNIT COMMANDER

Annex D

DEPARTMENT OF THE ARMY

US Army TMDE Support Center

Fort Hood, Texas  76544

AMSAM-TMD-C-HD                                                                                                          DATE

MEMORANDUM FOR Commander, (Unit/UIC)

SUBJECT:  Status of End Item

1.  Part(s) on requisition/document numbers: ___________________________________ ________________________________________________________________________________________________________________________________________________

2.  Estimated Delivery Date:_________________________.

Priority:  _________

End Item:  _________________    SERIAL#:  ________________________

MODEL#:  ________________     JOB ORDER#:  ____________________

3.  The above listed part(s) has/have been requisitioned and status has not been received.  Part(s) is/are not due in within a 90-day period.  It is your decision to either wait for the part(s) to repair your end item or request turn-in.  We must be informed of your decision in writing within 10 working days from the above date.

______________________

BILLY H. HAFLEY

Chief, TSC-Fort Hood

Annex E

DEPARTMENT OF THE ARMY

US Army TMDE Support Center

Fort Hood, Texas  76544

AMSAM-TMD-C-HD                                                                                                          DATE

MEMORANDUM THRU Installation TMDE Support Coordinator, Fort Hood, Texas  76544

FOR Commander, (Unit/UIC)

SUBJECT:  Failure to Pick Up TMDE at Support Facility

1.  The following unit was provided notification via telephone messages as follows:

PERSON CONTACTED                                        DATE

_____________________________                         _______________

_____________________________                         _______________

_____________________________                         _______________

2.  Equipment to be picked up

SERIAL#           MODEL#       	NOMENCLATURE    JOB ORDER#     PD

___________     ___________       _________________   ____________     ___

___________     ___________       _________________   ____________     ___

____________________________

BILLY H. HAFLEY

Chief, TSC-Fort Hood

Annex F

DEPARTMENT OF THE ARMY

(Customer Unit)

OFFICE SYMBOL                                                                                                                 DATE

MEMORANDUM THRU Installation TMDE Support Coordinator, Fort Hood, Texas  76544

FOR Chief, US Army TMDE Support Center, ATTN:  AMSAM-TMD-C-HD,

Building 88039, Fort Hood, Texas  76544

SUBJECT:  Out-of-Cycle Calibration

1.  Request the following item(s) be accepted for Out-of-Cycle calibration:

NOMENCLATURE             MODEL#            SERIAL#        DUE DATE

______________________        ___________        ___________   ___________

______________________        ___________        ___________   ___________

______________________        ___________        ___________   ___________

2.  The above item(s) require Out-of-Cycle calibration because:

________________________________________________________________________________________________________________________________________________

____________________________

UNIT COMMANDER

Annex G

DEPARTMENT OF THE ARMY

US Army TMDE Support Center

Fort Hood, Texas  76544

AMSAM-TMD-C-HD                                                                                                          DATE

MEMORANDUM THRU Installation TMDE Support Coordinator, Fort Hood, Texas  76544

FOR Commander, (Unit/UIC)

SUBJECT:  Gross Out-of-Tolerance TMDE

1.  During calibration of the following item of TMDE, the item was found to be grossly out-of-tolerance:

NOMENCLATURE:  _________________, SN#:  _____________, MDL#:  ________

2.  Recommend a review of the use of this instrument to determine if the out-of-tolerance condition could have affected the end-item/system which the TMDE was used on.

3.  Indications at the time of calibration by parameters:

PERFORMANCE SPECIFICATIONS             ACTUAL READING

_______________________________              _________________

_______________________________              _________________

_______________________________              _________________

_________________________

BILLY H. HAFLEY

Chief, TSC-Fort Hood

Annex H

DEPARTMENT OF THE ARMY

US Army TMDE Support Center

Fort Hood, Texas  76544

AMSAM-TMD-C-HD								           DATE

MEMORANDUM THRU Installation TMDE Support Coordinator, Fort Hood, Texas  76544

FOR Commander, (Unit/UIC)

SUBJECT:  Return of TMDE to Customers with No Action Taken

The TMDE listed below is returned for the following reason(s):

NOMENCLATURE         MODEL#       SERIAL#             JOB ORDER#

_________________        _________     _________           _____________

_____ Not listed in TB 43-180          _____ Lack of Manual

(Pending DA Form 3758)

_____ Lack of Accessories                _____ Other Reasons

____________________________

Chief, TSC-Fort Hood

UNIT’S OFFICE SYMBOL   1st End

UNIT’S ADDRESS                                   DATE

FOR Chief, TSC-Fort Hood

I acknowledge receipt of this memorandum.

____________________________

UNIT COMMANDER

Annex I

(Correcting TIMMS Master Listings)

Annex J

(Correcting TIMMS Master Listings)

Annex J

Sample of Completed DA Form 1687 (Notice of Delegation of Authority - Receipt for Supplies)

(1)  Enter the calendar date the form is prepared.

(2)  Enter the name of the unit and, if prepared by a hand or subhand receipt holder to delegate authority to request or receipt for supplies, the hand receipt number or name of the section involved.

(3)  Enter the name of the installation on which the unit is located.

AUTHORIZED REPRESENTATIVES(S)

(4)  Enter the name of authorized representative.  When more than four persons are to be delegated and a follow-on card is deemed necessary, enter the statement “Continuation to DA Form 1687 dated _________“ in the remarks block of the follow-on card.

(5) Enter ‘Not Used’ on next available line when all lines are not used.

(6) (REQ)  Enter “YES” in this block for each person authorized to request supplies.  Otherwise enter “NO.”

(6) (REC) Enter “YES” in this block for each person authorized to receipt for supplies.  Otherwise enter “NO.”

(7)  Enter the signature and initials of authorized representatives.

AUTHORIZATION BY RESPONSIBLE OFFICER OR ACCOUNTABLE OFFICER

(8)  Enter an “X” in this box to show that the authorized representative is delegated to request/receipt for supplies.  Specify the classes of supplies for which the representatives may sign.

(9)  Enter “Request and/or receive test equipment from the TSC-Ft Hood.”

(10)  Enter the assigned unit identification code (UIC).

(11)  Enter the unit DODAAC and any locally assigned account number.

(12)  Enter the name of the responsible person.

(13)  Enter the grade or rank of the responsible person.

(14)  Enter the office telephone number of the responsible person.

(15)  Enter the expiration date of the card.  This date is determined by the person making the delegation.  Do not set a date later than the date the delegation authority expects to remain in the job.

(16)  Enter the signature of the responsible person.

NOTE:  All entries, except the signature and initials, will be either printed in ink or typewritten.  The signature and initials will be entered in ink.

Annex K

(Sample AMXTM Form 34A)

Annex L